## Sheet1
Test results
NO. | Test items | judgement standard | quantity | determination
1 | structure appearance | The appearance is good,and there is no ooseness in the electrode connection; | 2PCS | PASS
2 | dielectric strength | No breakdown or arc flash | 2PCS | PASS
3 | Contact resistance | The impedance of the 10Hz signal should not exceed 3kQ,30kH2 The impedance should be less than 10Q; | 2PCS | PASS
4 | defibrillation test | The temperature rise does not exceed 15℃ | 2PCS | PASS
5 | Stay sticky | Fitting time>30s | 2PCS | PASS
6 | Defibrillation electrode s and cables | The fixed end of the cable is not loose or damaged,and each conductor The wire should not have 10%of the total core wires broken; | 2PCS | PASS